## Slide 1: Characterization of the column-based priority logic readout of Topmetal-II- CMOS pixel direct charge sensor Wei Zhang*, Guangming Huang1, Xiangming Sun1 on behalf of the Topmetal design team *1School of Physical Science and Technology, Central China Normal University, Wuhan, Hubei 430079, China
Introduction
Experiments and Results
Topmetal-II- is a highly pixelated sensor with 83 µm pitch between 72 × 72 pixels fabricated in a standard 350 nm CMOS technology without post-processing for direct charge collection and imaging through exposed metal electrodes in the topmost metal layer. In addition to the time-shared multiplexing readout of the analog output from Charge Sensitive Amplifiers (CSA) in each pixel, hits are also generated by pixel-local comparator with adjustable threshold and read out via a column-based priority logic, pertaining both hit location and time information.
We study the detailed working behavior and performance of this readout scheme and demonstrate its potential in imaging applications.
Sensor photograph and Top-level block diagram
A photograph of one fully fabricated and wire-bonded Topmetal-II- sensor is shown in Fig. (a) and its top-level block diagram is shown in Fig. (b). The sensor measures 8 × 9 mm2 (blue box in Fig. (a)), in which a 6 × 6 mm2 charge sensitive area (red box in Fig. (a)) containing 72 × 72 pixels is located in the center of the chip. Major funtional units of the sensor are depicted in the top-level block diagram. The analog output from each pixel is fed to a single output Buffer via an array-wide row/column multiplexing circuitry. The digital output (hits) is registered at the each Column Readout Unit (CRU), then shipped off the sensor via a 72 : 1 Multiplexer(MUX).
Single pixel structure and Timing diagram
The inner structure of the digital readout pathway from a single pixel to the edge of array is shown in Fig. (a). Structures at pixel, column and edge of array levels are indicated in the blue, green and red dashed boxes, respectively.
In-Pixel:
Exposed metal electrode and Guardring: A ring electrode (Guardring), which is in the same topmost metal layer as the Topmetal, surrounds the exposed metal electrode while being isolated from it.
Charge Sensitive Amplifier (CSA): The CSA with Cf = 5.1 fF (design value) converts the injected charge to voltage signal (CSA_OUT) and feeds it into the comparator.
Comparator: The comparator compares CSA_OUT to a threshold(Vth) set by a pixel-local 4-bit DAC (Vthl) on top of a common offset (Global offset Vthg) that is globally adjustable. (Vth = Vthg + Vthl). When the threshold surpasses CSA_OUT, the Flag signal will be set to high.
Priority logic: Each priority logic is a fully combinational logic that controls the CSA's reset upon the readout of a hit and drives the hit information through the column structure.
In-Column:
The 7-bit pixel local address will be delivered to the Column Bus when the Addr_EN signal is high.
Conculsions and Outlook
Acknowledgments and References
We have successfully verified the behavior and performance of a column-based priority logic readout in the Topmetal-II- sensor. Both the electrical measuments and imaging applications proved the validity of the readout scheme.
In the current design, although the in-array combinational logic can ship the hit pixel's address to the edge of the array with minimal latency, the sequential logic of the CUR and the MUX limits the time that is more than one clock to discover the hit information. To reduce the readout latency, the analog readout channel and combinational logic could be designed at the edge of the array to detect the activities in the Address Bus promptly. At the same time, the MUX could be replaced by fully combinational logic. We will investigate these options in future Topmetal sensor development in addition to improving the array uniformity.
This work is supported, in part, by the Thousand Talents Program at CCNU and by the National Natural Science Foundation of China under Grant No. 11375073. We also acknowledge the support from LBNL for hosting the physical measurements of the sensor.
References
[1] M. An et al. A low-noise CMOS pixel direct charge senor, Topmetal-II-. Nucl. Instr. and Meth. A 810 (2016) 144-150, ISSN 0168-9002.
[2] C. Hu-Gao et al. First reticule size MAPS with digital output and integrated zero suppression for the EUDET-JRA1 beam telescope, Nucl. Instr. and Meth. A (2010) 480-482, ISSN 0168-9001.
[3] Y. Fan et al. Developement of a highly pixelated direct charge sensor, Topmetal-I, for ionizing radiation imaging, arXiv: 1407.3712.
At the beginning of the test process, we disable all the 4-bit DACs. As shown in Fig. (a), an S-curve of a single pixel obtained by scanning the global offset (Vth) while recording the corresponding probability for the comparator and the subsquent logic to register a hit given a test pulse on the Guardring. Insert in Fig. (a) illustrates the distribution of the width of the transition (б). The width (б) of transition, which is an indicator of the noise of CSA output presented to the comparator, has a mean value of 1.2 mV. Baseline median distribution across the array in 2D and 1D histogram before and after trimming with a 4-bit DAC in every pixel is in Fig. (b). The results show a greatly reduced width in baseline median distribution.
After trimming with the optimized setting, we use a purple light LED to illuminate a Topmetal-II- sensor. The purple light LED was placed ~2 cm above the sensor and driven by a train of narrow pulses with 10 µs width and 50 ms interval. The sensor was covered by an opaque photo mask with a transparent T-shaped pattern. The T-shaped pattern is aligned with the center of the sensor.
We recorded many frames of hits induced by plenty of LED pulses. Hit location and time information are reconstructed from data that was collected by the Data Acquisition System. An image showing the T-shape is depicted in Fig. (c).
The Fig. (d) shows that time stamps printed at the loaction of corresponding pixels resulting from one light pulse. The T-shaped light hit pattern is clearly visible. Arrows connect hits in the same column, pointing from lower to higher time values. Insert in Fig. (d) illustrates the readout of column No. 38. In Fig. (e), the light pulse arrives at each pixel simultaneously, the initially registered time, which is from the highest priority pixel, is the same for all the CRUs. Only the hit time of the highest priority pixel is physically meaningful. It is worth noting that starting from the second-highest priority pixel, the time difference between the ith-priority pixel and the (i+1)th-priority pixel in the same column equals the number of columns (72), which is the time interval between consecutive reads for a given CRU.
Septermber 10, 2016 *stone156324@mails.ccnu.edu.cn
Each priority chain is terminated by a Column Readout Unit (CRU) at the bottom of the column, which is a sequential logic that shares a synchronous CLK with MUX.
Edge of Array:
The multiplexer(MUX) sucessively polls every CRU with a synchronous CLK and ships the hit pixel's location and time information off the sensor.
Fig. (b) indicates the relevant signal activities during a hit and its readout. we assumed that the pixel located in the No. 45 column was hit and at this moment the time counter equals 00100001112 (13510).